## CXIC0415 run log
| CXIC0415 |  |  |  |  | Jet | [6 empty] | Data analysis
Run # | Date | Time | Run length | Sample ID | Comments | Nozzle identifier | sheath liquid flow rate | sample flow rate (µl/min) | Nozzle voltage (V) | Photon Energy (keV) | Attenuator transmission | Detector position (mm) | Number of frames | Hits found (iter1) | Hits found (iter2) | Hits found (iter3) | Hit rate (%) | Number of frames indexed (iter1) | Indexing rate [%] | Number of frames indexed (iter2) | Indexing rate [%] | Number of frames indexed (iter3) | Indexing rate [%] | Number of frames indexed (iter4) | Indexing rate [%] | Number of frames indexed (iter5) | Indexing rate [%] | Number of frames indexed (iter6) | Indexing rate [%] | Number of frames indexed (iter7) | Indexing rate [%] | Indexing quality
1 | 2015-07-25 |  |  | Selenobiotin streptavidin | [6 empty] | 100% | -6.8 | [6 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
2 | 2015-07-25 |  |  | Selenobiotin streptavidin | [6 empty] | 100% | -6.8 | [6 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
3 |  |  |  | Selenobiotin streptavidin | [6 empty] | 100% | -6.8 | [6 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
4 |  |  |  | Selenobiotin streptavidin | [6 empty] | 100% | -6.8 | 1289 | 0 |  |  | 0 |  | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
5 |  |  |  | Selenobiotin streptavidin | [6 empty] | 100% | -400 | 23521 | 128 |  |  | 0 | 25 | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
6 |  |  |  | Selenobiotin streptavidin | [6 empty] | 100% | -400 | 36791 | 54 |  |  | 0 | 22 | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
7 | 2015-07-26 | 03:04 finished |  | Selenobiotin streptavidin | some crystals | [5 empty] | 100% | -400 | 43762 | 3030 |  |  | 0 |  | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
8 | 2015-07-26 | 3:07 |  | Selenobiotin streptavidin | detector moved slightly. lost Xrays ~03:13. Xrays back 03:17 | [5 empty] | 100% | -450 | 1229 | 0 |  |  | 0 |  | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
9 | 2015-07-26 |  |  | Selenobiotin streptavidin | [6 empty] | 100% | -450 | 7148 | 553 |  |  | 0 | 1 | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
10 |  |  |  | Selenobiotin streptavidin | [6 empty] | 100% | -450 | 1202 | 0 |  |  | 0 |  | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
11 |  |  |  | Selenobiotin streptavidin | [6 empty] | 100% | -450 | 3264 | 0 |  |  | 0 |  | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
12 | 2015-07-26 | 3:41 |  | Selenobiotin streptavidin | more concentrated SeBiotin sample. dark | [5 empty] | 100% | -450 | 16160 | 0 |  |  | 0 |  | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
13 | 2015-07-26 | 3:44 |  | Selenobiotin streptavidin | dark. rings | [5 empty] | 100% | -450 |  | 0 |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
14 | 2015-07-26 | 03:48 (?) | 4:38 | Selenobiotin streptavidin | collecting data. good jet. lots of background. swapping sticks after this run. | [5 empty] | 100% | -450 | 33226 | 1679 | 17 | 17 | 0.051165 | 3 | 17.6471 |  | 0 |  |  | 7 | 41.1765 | 8 | 47.0588 | 8 | 47.0588 | 8 | 47.0588 | mixed
15 | 2015-07-26 |  | 2:23 | Selenobiotin streptavidin | [6 empty] | 100% | -450 | 17012 | 224 | 1 | 1 | 0.0058782 | 1 | 100 |  | 0 |  |  | 1 | 100 | 1 | 100 | 1 | 100 | 1 | 100 | good
16 | 2015-07-26 | 05:04 ended | 1:12 | Selenobiotin streptavidin | ONE HIT!!!!!1111 | [5 empty] | 100% | -450 | 8573 | 1547 | 12 | 12 | 0.13997 | 3 | 25 |  | 0 |  |  | 5 | 41.6667 | 4 | 33.3333 | 5 | 41.6667 | 5 | 41.6667 | good
17 | 2015-07-26 | 5:04 | 12:11 | Selenobiotin streptavidin | stable jet | [5 empty] | 100% | -450 | 87139 | 17727 | 1467 | 1184 | 1.3587 | 291 | 19.8364 |  | 0 |  |  | 423 | 28.8344 | 765 | 52.1472 | 1060 | 72.2563 | 697 | 58.8682 | mixed
18 | 2015-07-26 |  | 2:50 | Selenobiotin streptavidin | [6 empty] | 100% | -450 | 20303 | 2871 | 381 | 382 | 1.8815 | 121 | 31.7585 |  | 0 |  |  | 179 | 46.9816 | 177 | 46.4567 | 182 | 47.769 | 207 | 54.1885 | mixed
19 | 2015-07-26 | 5:24 | 4:45 | Selenobiotin streptavidin | [6 empty] | 100% | -450 | 34041 | 5483 | 701 | 701 | 2.0593 | 254 | 36.234 |  | 0 |  |  | 343 | 48.9301 | 338 | 48.2168 | 365 | 52.0685 | 418 | 59.6291
20 | 2015-07-26 |  | 1:48 | Selenobiotin streptavidin | [6 empty] | 100% | -450 | 12851 | 4457 | 45 | 137 | 1.0661 | 16 | 35.5556 |  | 0 |  |  | 22 | 48.8889 | 23 | 51.1111 | 24 | 53.3333 | 85 | 62.0438
21 | 2015-07-26 |  | 4:52 | Selenobiotin streptavidin | [6 empty] | 100% | -450 | 34936 | 6460 | 558 | 563 | 1.6115 | 173 | 31.0036 |  | 0 |  |  | 271 | 48.5663 | 270 | 48.3871 | 276 | 49.4624 | 315 | 55.9503
22 | 2015-07-26 |  | 1:26 | Selenobiotin streptavidin | [6 empty] | 100% | -450 | 10320 | 2089 | 104 | 104 | 1.0078 | 29 | 27.8846 |  | 0 |  |  | 35 | 33.6538 | 36 | 34.6154 | 38 | 36.5385 | 42 | 40.3846
23 | 2015-07-26 |  |  | dark | Dark run | [5 empty] | 100% | -450 |  | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  |  | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
24 | 2015-07-26 | 5:43 | 4:50 | Selenobiotin streptavidin 40µm | nice hit observed here | [5 empty] | 100% | -450 | 34742 | 7739 | 1370 | 1405 | 4.0441 | 483 | 35.2555 |  | 0 |  |  | 665 | 48.5401 | 636 | 46.4234 | 683 | 49.854 | 789 | 56.1566 | good, rings are thinner
25 | 2015-07-26 | 5:48 | 1:31 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 10884 | 974 | 357 | 358 | 3.2892 | 100 | 28.0112 |  | 0 |  |  | 150 | 42.0168 | 151 | 42.2969 | 155 | 43.4174 | 183 | 51.1173
26 | 2015-07-26 |  | 8:26 | [7 empty] | 100% | -450 | 60500 | 18920 | 1218 | 1226 | 2.0264 | 353 | 28.9819 |  | 0 |  |  | 554 | 45.4844 | 545 | 44.7455 | 546 | 44.8276 | 659 | 53.752
27 | 2015-07-26 | 6:01 | 4:15 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 30454 | 1811 | 312 | 314 | 1.0311 | 92 | 29.4872 |  | 0 |  |  | 152 | 48.7179 | 144 | 46.1538 | 148 | 47.4359 | 176 | 56.051
28 | 2015-07-26 |  | 4:58 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 35390 | 2254 | 3 | 3 | 0.008477 | 0 | 0 |  | 0 |  |  | 1 | 33.3333 | 0 | 0 | 0 | 0 | 0 | 0
29 | 2015-07-26 |  | 1:38 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 11653 | 747 | 35 | 35 | 0.30035 | 6 | 17.1429 |  | 0 |  |  | 10 | 28.5714 | 10 | 28.5714 | 10 | 28.5714 | 12 | 34.2857
30 | 2015-07-26 |  | 5:23 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 38652 | 4075 | 196 | 196 | 0.50709 | 95 | 48.4694 |  | 0 |  |  | 125 | 63.7755 | 126 | 64.2857 | 126 | 64.2857 | 143 | 72.9592
31 | 2015-07-26 |  |  | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 4432 | 776 | 0 | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! |  |  | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
32 | 2015-07-26 |  | 4:45 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 34028 | 2738 | 87 | 87 | 0.25567 | 34 | 39.0805 |  | 0 |  |  | 42 | 48.2759 | 45 | 51.7241 | 45 | 51.7241 | 53 | 60.9195
33 | 2015-07-26 |  | 1:04 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 7638 | 312 | 3 | 3 | 0.039277 | 0 | 0 |  | 0 |  |  | 1 | 33.3333 | 1 | 33.3333 | 1 | 33.3333 | 1 | 33.3333
34 | 2015-07-26 |  | 1:40 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 11962 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! |  |  | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
35 | 2015-07-26 |  |  | dark | [6 empty] | 100% | -450 |  | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  |  | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
36 | 2015-07-26 |  | 1:17 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 9159 | 544 | 0 | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! |  |  | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
37 | 2015-07-26 |  | 8:06 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 58188 | 6930 | 4 | 4 | 0.0068743 | 1 | 25 |  | 0 |  |  | 3 | 75 | 3 | 75 | 3 | 75 | 3 | 75
38 | 2015-07-26 |  | 5:50 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 41839 | 5561 | 4 | 4 | 0.0095605 | 2 | 50 |  | 0 |  |  | 3 | 75 | 3 | 75 | 3 | 75 | 3 | 75
39 | 2015-07-26 |  | 2:07 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 15094 | 1379 | 0 | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! |  |  | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
40 | 2015-07-26 |  | 5:17 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 37940 | 5374 | 1111 | 1111 | 2.9283 | 336 | 30.243 |  | 0 |  |  | 505 | 45.4545 | 496 | 44.6445 | 496 | 44.6445 | 611 | 54.9955 | good, thin rings
41 | 2015-07-26 |  | 3:23 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 24148 | 4786 | 1960 | 1964 | 8.1332 | 531 | 27.0918 |  | 0 |  |  | 848 | 43.2653 | 812 | 41.4286 | 812 | 41.4286 | 1049 | 53.4114
42 | 2015-07-26 |  | 5:24 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 38796 | 6873 | 860 | 862 | 2.2219 | 261 | 30.3488 |  | 0 |  |  | 334 | 38.8372 | 324 | 37.6744 | 324 | 37.6744 | 396 | 45.9397
43 | 2015-07-26 |  | 1:37 | Selenobiotin streptavidin 40µm | [6 empty] | 100% | -450 | 11520 | 2105 | 165 | 165 | 1.4323 | 24 | 14.5455 |  | 0 |  |  | 29 | 17.5758 | 33 | 20 | 33 | 20 | 51 | 30.9091 | good, thin rings
44 | 2015-07-26 | end 08:39 |  |  | last minute of this is GOOD! Please take. | [5 empty] | 100% |  | 1116 | 0 | 0 | 0 | 0 |  | #DIV/0! |  | #DIV/0! |  |  | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
|  |  |  | End of shift 1 | [6 empty] | 100% | [5 empty] | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
45 | 2015-07-26 | 8:39 | 4:21 | Selenobiotin streptavidin | good run!! | [5 empty] | 100% | Both detectors should be around 136mm | 31169 | 4935 | 15 | 15 | 0.048125 | 6 | 40 |  | 0 | 6 | 40 | 7 | 46.6667 | 7 | 46.6667 | 7 | 46.6667 | 9 | 60 | good, thick rings probably caused by moving focus
46 | 2015-07-26 |  | 1:47 | Selenobiotin streptavidin | we have hits | [5 empty] | 100% |  | 12689 | 111 | 0 | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
47 | 2015-07-27 | 1:02 | 6:26 | Selenobiotin streptavidin | very low hit rate, possible problem: low crystal density due to faulty hplc pump | red stick | 10 uL/min | 10 uL/min | 3400 | 12.8 keV | 100% |  | 46126 | 23763 | 503 | 503 | 1.0905 | 94 | 18.6879 |  | 0 | 94 | 18.6879 | 176 | 34.9901 | 169 | 33.5984 | 169 | 33.5984 | 213 | 42.3459 | good, thick rings
48 | 2015-07-27 | 2:11 | 4:38 | Selenobiotin streptavidin | going to concentrate SC1 sample because the concentrated sample worked much better for SC3 this round | red stick | 0 uL/min | 10 uL/min | 4000, 3500 (2:15) | 12.8 keV | 100% |  | 33321 | 1224 | 2208 | 2208 | 6.6265 |  | 0 |  | 23.0072 | 508 | 23.0072 | 922 | 41.7572 | 858 | 38.8587 | 858 | 38.8587 | 1073 | 48.596
49 | 2015-07-27 | 2:27 | 4:53 | Selenobiotin streptavidin | hit rate going up, tip of injector has some gunk on it | red stick | 0 uL/min | 10 uL/min | 3900, 4200 (2:28) | 12.8 keV | 100% |  | 34929 | 4700 | 731 | 10179 | 29.142 |  | 0 |  | 0 | 125 | 17.0999 | 205 | 28.0438 | 196 | 26.8126 | 196 | 26.8126 | 3961 | 38.9134
50 | 2015-07-27 | 2:32 | 18:29 | Selenobiotin streptavidin |  | red stick | 0 uL/min | 5 uL/min, 3 uL/min | 4200, 4000 | 12.8 keV | 100% |  | 132802 | 5288 | 51972 | 51985 | 39.1447 |  | 0 | 3729 | 7.175 | 7110 | 13.6804 | 14531 | 27.9593 | 13870 | 26.6874 | 13870 | 26.6874 | 20100 | 38.665 | mixed, high background
51 | 2015-07-27 | 2:51 | 9:16 | Selenobiotin streptavidin |  | red stick | 0 uL/min | 3 uL/min | 4500 | 12.8 keV | 100% |  | 66563 | 6029 | 30950 | 30968 | 46.5243 |  | 0 | 3872 | 12.5105 | 4536 | 14.6559 | 8715 | 28.1583 | 8329 | 26.9111 | 8329 | 26.9111 | 12470 | 40.2674
52 | 2015-07-27 | 3:00 |  | Dark |  | red stick |  |  |  | 12.8 keV | 100% |  | 1499 | 0 | 0 | 0 | 0 |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
53 | 2015-07-27 | 3:01 | 16:35 | Selenobiotin streptavidin | jet has pretty high background, went to clean SC1 and realized it wasn't jetting, just large droplets | red stick | 0 uL/min | 3 uL/min | 4500 | 12.8 keV | 100% |  | 119003 | 9467 | 11749 | 61652 | 51.8071 | 2934 | 24.9723 |  | 0 | 1404 | 11.95 | 2888 | 24.5808 | 2768 | 23.5595 | 2768 | 23.5595 | 20107 | 32.6137
54 | 2015-07-27 | 3:49 | 3:05 | Selenobiotin streptavidin |  | red stick | 1 uL/min | 4 uL/min | 4500 | 12.8 keV | 100% |  | 22034 | 51 | 177 | 177 | 0.8033 |  | 0 | 48 | 27.1186 | 15 | 8.4746 | 24 | 13.5593 | 21 | 11.8644 | 21 | 11.8644 | 29 | 16.3842
55 | 2015-07-27 | 4:06 | 8:49 | Selenobiotin streptavidin | Chuck likes this run | red stick | 0 uL/min | 5 uL/min | 3500, 3200, 3800 (4:08), 4000 (4:10), 3200, 3250 (4:12) | 12.8 keV | 100% |  | 63292 | 2000 | 4027 | 4038 | 6.38 | 659 | 16.3645 | 2615 | 64.9367 | 1539 | 38.217 | 1218 | 30.2458 | 1200 | 29.7989 | 1200 | 29.7989 | 1583 | 39.2026 | good, many unindexed peaks probably from multicrystals
56 | 2015-07-27 | 4:17 | 6:50 | Selenobiotin streptavidin | air bubble somewhere that is making jet unstable | red stick | 0 uL/min | 20 uL/min, 10 uL/min | 3500, 4000 (4:24) | 12.8 keV | 100% |  | 49101 | 2373 | 4473 | 4518 | 9.2014 | 1597 | 35.7031 | 1674 | 37.4245 | 889 | 19.8748 | 1420 | 31.746 | 1383 | 30.9188 | 1383 | 30.9188 | 1837 | 40.6596
57 | 2015-07-27 | 4:25 | 10:47 | Selenobiotin streptavidin |  | red stick | 0 uL/min | 5 uL/min | 3900, 3850 | 12.8 keV | 100% |  | 77461 | 1621 | 3428 | 3439 | 4.4397 | 528 | 15.4026 |  | 0 | 612 | 17.853 | 1008 | 29.4049 | 988 | 28.8215 | 988 | 28.8215 | 1285 | 37.3655
58 | 2015-07-27 | 4:40 | 9:58 | Selenobiotin streptavidin |  | red stick | 0 uL/min | 5 uL/min | 3000 | 12.8 keV | 100% |  | 71428 | 1459 | 3246 | 3259 | 4.5626 | 474 | 14.6026 | 1253 | 38.6014 | 623 | 19.1929 | 963 | 29.6673 | 931 | 28.6815 | 931 | 28.6815 | 1209 | 37.0973
59 | 2015-07-27 | 5:04 | 17:10 | Selenobiotin streptavidin |  | red stick | 1 uL/min | 5 uL/min |  | 12.8 keV | 100% |  | 123141 | 1868 | 6243 | 6262 | 5.0852 | 631 | 10.1073 |  | 0 | 1240 | 19.8622 | 1928 | 30.8826 | 1855 | 29.7133 | 1855 | 29.7133 | 2434 | 38.8694 | good, throw away high background
60 | 2015-07-27 | 5:07 | 5:25 | Selenobiotin streptavidin |  | red stick | 1 uL/min | 5 uL/min | 5000 | 12.8 keV | 100% |  | 38894 | 1124 | 2121 | 2126 | 5.4661 | 303 | 14.2857 |  | 0 | 389 | 18.3404 | 669 | 31.5417 | 661 | 31.1645 | 661 | 31.1645 | 898 | 42.2389
61 | 2015-07-27 |  | 1:23 | Selenobiotin streptavidin |  | red stick | 1 uL/min | 5 uL/min | 5000 | 12.8 keV | 100% |  | 9859 | 1254 | 1129 | 2371 | 24.0491 | 309 | 27.3694 | 284 | 25.155 | 207 | 18.3348 | 366 | 32.4181 | 353 | 31.2666 | 353 | 31.2666 | 933 | 39.3505
62 | 2015-07-27 | 5:11 |  | Dark |  | red stick |  |  |  | 12.8 keV | 100% |  |  | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
63 | 2015-07-27 | 6:50 | 9:20 | Selenobiotin streptavidin | SC1 mirror and sticks cleaned before this run, saw lots of ice but seeing hits | red stick | 0 uL/min | 5 uL/min | 3500, 3800, 3500 | 12.8 keV | 100% |  | 66973 | 6311 | 6386 | 16480 | 24.6069 | 1750 | 27.4037 |  | 0 | 1073 | 16.8024 | 1835 | 28.7347 | 1773 | 27.7639 | 1773 | 27.7639 | 5854 | 35.5218 | excellent
64 | 2015-07-27 |  | 5:04 | Selenobiotin streptavidin |  | red stick |  |  |  | 12.8 keV | 100% |  | 36311 |  | 2696 | 2696 | 7.4247 |  | 0 |  | 0 | 355 | 13.1677 | 754 | 27.9674 | 727 | 26.9659 | 727 | 26.9659 | 1000 | 37.092
65 | 2015-07-27 | 7:05 | 15:33 | Selenobiotin streptavidin | large crystal appeared, a few ice crystals, low probability of ice now | red stick |  |  |  | 12.8 keV | 100% |  | 111649 |  | 41389 | 41465 | 37.1387 |  | 0 |  | 0 | 7889 | 19.0606 | 12850 | 31.0469 | 12586 | 30.409 | 12586 | 30.409 | 16017 | 38.6278 | generally good, throw away some high background
66 | 2015-07-27 | 8:16 | 11:41 | Selenobiotin streptavidin | huge ice blob problem near jet, jet turned off to try to get ice off without going inside | red stick | 4 uL/min | 5 uL/min | 3500 | 12.8 keV | 100% |  | 83846 |  | 424 | 425 | 0.50688 | 90 | 21.2264 |  | 0 | 101 | 23.8208 | 147 | 34.6698 | 144 | 33.9623 | 144 | 33.9623 | 182 | 42.8235
67 | 2015-07-27 | 8:30 | 4:00 | Selenobiotin streptavidin | ice problem still exists, some hits | red stick | 4 uL/min | 5 uL/min | 3500 | 12.8 keV | 100% |  | 28625 |  | 190 | 190 | 0.66376 |  | 0 |  | 0 | 29 | 15.2632 | 55 | 28.9474 | 54 | 28.4211 | 54 | 28.4211 | 73 | 38.4211
68 | 2015-07-27 | 8:56 | 4:57 | Selenobiotin streptavidin | went inside to clean off ice, unstable jet but lots of ice-free hits | red stick | 10 uL/min | 10 uL/min | 4800 | 12.8 keV | 100% |  | 35495 | 2251 | 4303 | 4310 | 12.1426 | 588 | 13.6649 |  | 0 | 858 | 19.9396 | 1432 | 33.2791 | 1399 | 32.5122 | 1399 | 32.5122 | 1887 | 43.7819
End of shift 2
69 | 2015-07-27 | 22:53 |  |  | Dark | blue stick |  |  |  |  | 100% |  |  | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | 0 |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
70 | 2015-07-27 | 11:30 | 4:05 | Selenobiotin streptavidin | No hits to begin with, Ray had to adjust the X and Y values to match Sebastian | blue stick | 2 | 5 | 3000 | 12.8 | 100% | ~135 | 29391 | 2237 | 5356 | 5377 | 18.2947 |  | 0 |  | 0 | 1000 | 18.6706 | 1542 | 28.7901 | 1516 | 28.3047 | 1516 | 28.3047 | 1872 | 34.815
71 | 2015-07-27 | 11:34 | 5:18 | Selenobiotin streptavidin |  | blue stick | 2 | 5 | 3000 | 12.8 | 100% |  | 38096 | 5238 | 11766 | 11786 | 30.9376 |  | 0 |  | 0 | 2159 | 18.3495 | 3617 | 30.7411 | 3544 | 30.1207 | 3544 | 30.1207 | 4418 | 37.4852 | generally ok
72 | 2015-07-27 | 11:40 |  |  | Dark | blue stick | 2 | 5 | 3000 | 12.8 | 100% |  |  | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
73 | 2015-07-27 | 11:40 | 6:17 | Selenobiotin streptavidin | Noticing more ice, running more sheath fluid | blue stick | 3 | 4 | 3000 | 12.8 | 100% |  | 45127 | 3919 | 9574 | 9583 | 21.2356 |  | 0 |  | 0 | 1984 | 20.7228 | 3525 | 36.8185 | 3396 | 35.4711 | 3396 | 35.4711 | 4317 | 45.0485 | good
74 | 2015-07-27 | 11:48:00 PM PDT |  |  | Dark | blue stick | 4 | 4 | 2500 | 12.8 | 100% |  |  | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
75 | 2015-07-27 | 11:50 | 7:47 | Selenobiotin streptavidin | killing beam to try to get rid of ice crystals | blue stick | 4 | 4 | 2500 | 12.8 | 100% |  | 55817 | 1758 | 5694 | 5696 | 10.2048 | 992 | 17.4218 |  | 0 | 945 | 16.5964 | 1885 | 33.105 | 1826 | 32.0688 | 1826 | 32.0688 | 2328 | 40.8708 | good
76 | 2015-07-27 | 0:01 | 20:11 | Selenobiotin streptavidin | Cleaning off the ice worked hit rate much higher on SC-3, hasan recommends cutting the sheath liquid. getting some nice data | blue stick | 6 | 10 | 2800 | 12.8 | 100% |  | 145037 | 4166 | 32247 | 32257 | 22.2405 | 1253 | 3.8856 |  | 0 | 5776 | 17.9117 | 11193 | 34.7102 | 10863 | 33.6869 | 10863 | 33.6869 | 13759 | 42.6543 | generally good, throw away some high background
77 | 2015-07-27 | 0:21 | 14:22 | Selenobiotin streptavidin | switched to 10% Transmission | blue stick | 3 | 2 | 3000 | 12.8 | 10% |  | 103254 | 1535 | 12543 | 12558 | 12.1622 | 494 | 3.9385 |  | 0 | 2354 | 18.7674 | 2417 | 19.2697 | 3759 | 29.9689 | 3759 | 29.9689 | 4985 | 39.6958 | excellent
78 | 2015-07-27 | 0:42 |  |  | Dark | blue stick |  |  |  | 12.8 | 10% |  |  | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
79 | 2015-07-27 | 0:48 | 1:27 | Selenobiotin streptavidin | cleaning made the hits worse so ended | blue stick | 4 | 4 | 3000 | 12.8 | 10% |  | 10341 | 1 | 4 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
80 | 2015-07-27 | 0:51 | 25:42 | Selenobiotin streptavidin |  | blue stick | 6 | 5 | 3000 | 12.8 | 10% |  | 184717 | 1672 | 18025 | 18062 | 9.7782 | - | #VALUE! | 5321 | 29.5201 | 3015 | 16.7268 | 3086 | 17.1207 | 5471 | 30.3523 | 5471 | 30.3523 | 7033 | 38.9381
81 | 2015-07-27 | 1:16 | 9:35 | Selenobiotin streptavidin | end 2 min of 81 not so great because laser energy went below 12.8 | blue stick | 6 | 5 | 2600 | <12.8 (last two min) | 10% |  | 68831 | 1116 | 5738 | 5760 | 8.3683 |  | 0 |  | 0 | 971 | 16.9223 | 994 | 17.3231 | 1743 | 30.3764 | 1743 | 30.3764 | 2172 | 37.7083
82 | 2015-07-27 | 1:36 | 29:26 | Selenobiotin streptavidin |  | blue stick | 2 | 4 | 2550 | 12.8 | 10% |  | 211461 | 1849 | 32038 | 32102 | 15.181 | 621 | 1.9383 |  | 0 | 5746 | 17.935 | 5885 | 18.3688 | 9550 | 29.8084 | 9550 | 29.8084 | 12650 | 39.4056 | excellent
83 | 2015-07-27 | 2:09 | 12:22 | Selenobiotin streptavidin | problems with jet, hard to get hits. 2:15 starting to see hits. suggestion to clean the two jets | blue stick | 2 | 8 | 2800 | 12.8 | 10% |  | 88901 | 344 | 2448 | 2460 | 2.7671 |  | 0 |  | 0 | 392 | 16.0131 | 401 | 16.3807 | 712 | 29.085 | 712 | 29.085 | 916 | 37.2358 | excellent
84 | 2015-07-27 | 2:22 |  |  | Dark | blue stick |  |  |  | 12.8 | 10% |  |  | 0 | 0 | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
85 | 2015-07-27 | 2:32 | 21:57 | Selenobiotin streptavidin | jet working better after stopping to clean without going inside | blue stick | 10 | 5 | 3000 | 12.8 | 10% |  | 157676 | 5505 | 5369 | 20697 | 13.1263 |  | 0 |  | 0 | 978 | 18.2157 | 999 | 18.6068 | 1895 | 35.2952 | 1895 | 35.2952 | 7717 | 37.2856
86 | 2015-07-27 | 3:40 |  |  | dark run | blue stick |  |  |  | 12.8 | 10% |  | 1403 | 0 | 0 | 0 | 0 |  | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
87 | 2015-07-27 | 4:04 | 18:28 | Selenobiotin streptavidin | New sample, clean nozzle ~3:30am | blue stick | 5 | 5 | 3500 | 12.8 | 10% |  | 132573 | 647 | 8852 | 8892 | 6.7072 | 1581 | 17.8604 |  | 0 | 1615 | 18.2445 | 1653 | 18.6737 | 2708 | 30.592 | 2708 | 30.592 | 3546 | 39.8785 | excellent
88 | 2015-07-27 | 4:26 | 1:01 | Selenobiotin streptavidin | hit rate not as good because jet lengthening and shortening, decent hits later | blue stick | 5 | 5 | 3700 | 12.8 | 10% |  | 7166 | 1 | 12 | 12 | 0.16746 | 1 | 8.3333 |  | 0 | 1 | 8.3333 | 1 | 8.3333 | 4 | 33.3333 | 4 | 33.3333 | 5 | 41.6667
89 | 2015-07-27 |  | 10:27 | Selenobiotin streptavidin |  | blue stick |  |  |  |  | 10% |  | 74926 | 3437 | 2842 | 10901 | 14.549 |  | 0 | 892 | 31.3863 | 499 | 17.5581 | 506 | 17.8044 | 860 | 30.2604 | 860 | 30.2604 | 4164 | 38.1983
90 | 2015-07-27 | 4:47 | 15:54 | Selenobiotin streptavidin | made bubble to clean injector | blue stick | 3 | 5 | 3000 | 12.8 | 50% |  | 114255 | 11687 | 26806 | 26818 | 23.4721 | 10053 | 37.5028 |  | 0 | 4039 | 15.0675 | 8259 | 30.8103 | 8133 | 30.3402 | 8133 | 30.3402 | 13365 | 49.8359 | generally good, throw away some high background
91 | 2015-07-27 |  |  | Selenobiotin streptavidin |  | blue stick |  |  |  | 12.8 | 50% |  | 5164 | 744 | 1511 | 1511 | 29.2603 |  | 0 |  | 0 | 71 | 4.6989 | 382 | 25.2813 | 190 | 12.5745 | 190 | 12.5745 | 754 | 49.9007
92 | 2015-07-27 | 5:26 | 15:26 | Selenobiotin streptavidin |  | blue stick |  |  |  | 12.8 | 50% |  | 110749 | 5602 | 13696 | 13702 | 12.3721 | 4632 | 33.8201 |  | 0 | 1478 | 10.7915 | 3901 | 28.4828 | 3129 | 22.8461 | 3129 | 22.8461 | 6366 | 46.4604 | great
93 | 2015-07-27 | 5:46 | 1:59 | Selenobiotin streptavidin | not very good data | blue stick |  |  |  | 12.8 | 50% |  | 14172 | 751 | 1937 | 1937 | 13.6678 |  | 0 | 528 | 27.2586 | 246 | 12.7001 | 498 | 25.7099 | 549 | 28.3428 | 549 | 28.3428 | 794 | 40.9912
94 | 2015-07-27 | 6:00 | 18:46 | Selenobiotin streptavidin |  | blue stick |  |  |  | 12.8 | 50% |  | 134802 | 12574 | 22059 | 32681 | 24.2437 | 8735 | 39.5983 |  | 0 | 4379 | 19.8513 | 6515 | 29.5344 | 7739 | 35.0832 | 7739 | 35.0832 | 15397 | 47.113
95 | 2015-07-27 | 6:22 | 6:40 | Selenobiotin streptavidin |  | blue stick |  |  |  | 12.8 | 50% |  | 47891 | 1663 | 5237 | 5252 | 10.9666 | 1196 | 22.8375 | 1920 | 36.6622 | 1318 | 25.1671 | 1370 | 26.16 | 1893 | 36.1466 | 1893 | 36.1466 | 2467 | 46.9726 | excellent
96 | 2015-07-27 | 6:42 | 2:23 | Selenobiotin streptavidin | [5 empty] | 12.8 | 50% |  | 17023 | 1467 | 5733 | 5734 | 33.6838 | 943 | 16.4486 | 2008 | 35.0253 | 807 | 14.0764 | 1643 | 28.6586 | 1519 | 26.4957 | 1519 | 26.4957 | 2716 | 47.3666
97 | 2015-07-27 | 7:40 | 46:11 | Selenobiotin streptavidin | switched out injectors, bad x-rays | red stick | 0.5 | 10 | 5000 | 12.8 | 50% |  | 331849 | 7308 | 58959 | 59027 | 17.7873 |  | 0 | 23973 | 40.6605 | 12706 | 21.5506 | 18576 | 31.5066 | 21200 | 35.9572 | 21200 | 35.9572 | 27815 | 47.1225 | good
98 | 2015-07-27 | 8:39 | 13:30 |  |  | red stick |  |  |  | 12.8 | 50% |  | 96908 |  | 31207 | 31247 | 32.244 | 13296 | 42.6058 |  | 0 | 7017 | 22.4853 | 9937 | 31.8422 | 11613 | 37.2128 | 11613 | 37.2128 | 15748 | 50.3984
99 | 2015-07-27 | 8:49 | 9:35 |  |  | red stick |  |  |  |  | 50% |  | 68785 |  | 31755 | 31764 | 46.1787 | 6665 | 20.9888 | 13247 | 41.7163 | 6105 | 19.2253 | 10259 | 32.3067 | 11496 | 36.2022 | 11496 | 36.2022 | 16018 | 50.4282
100 | 2015-07-27 | 8:54 | 5:40 |  |  | red stick |  |  |  |  | 50% |  | 40650 |  | 12776 | 12794 | 31.4736 | 2909 | 22.7693 | 5140 | 40.2317 | 3015 | 23.5989 | 3729 | 29.1875 | 4776 | 37.3826 | 4776 | 37.3826 | 6167 | 48.2023
101 | 2015-07-27 | 9:01 | 6:07 |  |  | red stick |  |  |  |  | 50% |  | 43920 |  | 16950 | 16975 | 38.6498 | 3915 | 23.0973 | 7068 | 41.6991 | 4109 | 24.2419 | 5215 | 30.767 | 6541 | 38.59 | 6541 | 38.59 | 8386 | 49.4021 | good
102
103 | [12 empty] | Collection time: | Total frames: | Total hits: |  | Total indexed:
104 | [12 empty] | 10:19 | 4587997 | 675689 |  | 284936
105 | [14 empty] | 14.7273 |  | 42.1697
106 | [12 empty] | Number of frames | Hits found | Number indexed |  | Avg. indexing rate
[12 empty] | Transmission 100% | 2520580 | 324803 | 125755 |  | 38.7173
107 | [11 empty] | Transmission 50% | 1026168 | 239442 | 115993 |  | 48.443
108 | [11 empty] | Transmission 10% | 1041249 | 111444 | 43188 |  | 38.7531
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224