## CXIC0515 run log
| CXIC0515 |  |  |  |  | Jet | [6 empty] | Data analysis
Run # | Date | Time | Run length (minutes:seconds:nothing) | Sample ID | Comments | Nozzle identifier | sheath liquid flow rate | sample flow rate (µl/min) | Nozzle voltage (V) | Photon Energy (keV) | Attenuator transmission | Detector position (mm) | Number of frames | Hits found (iter1) | Hits found (iter 2) | Hits found (iter 3) | Hit rate (%) | Number of frames indexed (iter1) | Indexing rate [%] | Number of frames indexed (iter2) | Indexing rate [%] | Number of frames indexed (iter3) | Indexing rate [%] | Number of frames indexed (iter4) | Indexing rate [%] | Indexing quality
1 | 2015-07-25 |  |  |  | Didn't run on day 1
2
3
4
5
End of shift 1
6 | 2015-07-26 | 23:26 |  | Dark | [5 empty] | 12.8 | 100% |  |  | 0 |  |  | #DIV/0! | 0 | #DIV/0!
7 | 2015-07-26 | 1:14 | 1:51 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 10625 | 0 | 5 | 3 | 0.028235 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 2015-07-26 | 1:18 | 2:02 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 14505 | 0 | 4 | 4 | 0.027577 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 50
9 | 2015-07-26 | 1:28 | 4:39 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 33229 | 0 | 31 | 31 | 0.093292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 2015-07-26 | 2:12 | 1:16 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 8992 | 1530 | 3843 | 3848 | 42.7936 | 433 | 11.2672 | 858 | 22.3263 | 858 | 22.3263 | 1759 | 45.7715
11 | 2015-07-26 | 2:15 | 3:10 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 22731 | 4114 | 10614 | 10648 | 46.8435 | 1157 | 10.9007 | 2225 | 20.9629 | 2225 | 20.9629 | 4601 | 43.3484
12 | 2015-07-26 | 2:34 | 5:11 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 37184 | 577 | 1869 | 1878 | 5.0506 | 147 | 7.8652 | 255 | 13.6437 | 255 | 13.6437 | 579 | 30.9791
13 | 2015-07-26 | 2:40 | 5:38 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 36435 | 105 | 8264 | 7559 | 20.7465 | 577 | 6.9821 | 1219 | 14.7507 | 1219 | 14.7507 | 2493 | 30.167
14 | 2015-07-26 | 2:41 | 1:20 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 9409 | 12 | 55 | 55 | 0.58455 | 9 | 16.3636 | 14 | 25.4545 | 14 | 25.4545 | 23 | 41.8182
15 | 2015-07-26 | 2:43 | 2:01 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 14346 | 201 | 951 | 951 | 6.629 | 168 | 17.6656 | 268 | 28.1809 | 268 | 28.1809 | 509 | 53.5226
16 | 2015-07-26 | 2:52 | 8:34 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 61446 | 123 | 880 | 881 | 1.4338 | 146 | 16.5909 | 251 | 28.5227 | 251 | 28.5227 | 478 | 54.3182
17 | [10 empty] | 100% |  | 45650 |  | 16 | 581 | 1.2727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 2015-07-26 | 2:58 |  | Dark | [5 empty] | 12.8 | 100% |  |  | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
19 | 2015-07-26 | 3:01 | 13:00 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 12990 | 0 | 2 | 2 | 0.015396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 2015-07-26 | 3:05 | 1:49 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 8761 | 0 | 3 | 3 | 0.034243 | 0 | 0 | 1 | 33.3333 | 1 | 33.3333 | 2 | 66.6667
21 | 2015-07-26 | 3:06 | 1:14 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 57001 | 0 | 4438 | 4450 | 7.8069 | 183 | 4.1235 | 366 | 8.247 | 366 | 8.247 | 779 | 17.553
22 | 2015-07-26 | 4:14 | 7:56 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 42796 | 350 | 3868 | 3940 | 9.2065 | 426 | 11.0134 | 689 | 17.8128 | 689 | 17.8128 | 1276 | 32.9886
23 | 2015-07-26 | 4:25 | 6:32 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 58593 |  | 9542 | 9571 | 16.3347 | 949 | 9.9455 | 1679 | 17.5959 | 1679 | 17.5959 | 3507 | 36.7533 | OK
24 | 2015-07-26 | 4:33 | 8:10 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 52332 |  | 8961 | 8994 | 17.1864 | 988 | 11.0256 | 1651 | 18.4243 | 1651 | 18.4243 | 3246 | 36.2236
25 | 2015-07-26 | 4:40 | 7:19 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 49218 |  | 2109 | 2961 | 6.0161 | 284 | 13.4661 | 571 | 27.0744 | 571 | 27.0744 | 1224 | 58.037
26 | 2015-07-26 | 4:47 | 6:52 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 16009 |  | 5 | 9 | 0.056218 | 0 | 0 | 1 | 20 | 1 | 20 | 1 | 20
27 | 2015-07-26 | 4:49 | 2:14 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 76813 |  | 7223 | 11184 | 14.56 | 1216 | 16.8351 | 2038 | 28.2154 | 2038 | 28.2154 | 4028 | 55.7663
28 | 2015-07-26 | 5:08 | 11:51 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 23236 |  | 2407 | 4108 | 17.6795 | 380 | 15.7873 | 586 | 24.3457 | 586 | 24.3457 | 1174 | 48.7744
29 | 2015-07-26 | 5:11 |  | Dark | [5 empty] | 12.8 | 100% |  |  | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
30 | 2015-07-26 | 5:12 | 30:00 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 55934 | 2009 | 3866 | 18794 | 33.6003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2015-07-26 | 6:48 | 7:49 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 30611 | 1563 | 1559 | 13112 | 42.8343 | 73 | 4.6825 | 99 | 6.3502 | 99 | 6.3502 | 282 | 18.0885
32 | 2015-07-26 | 6:53 | 4:19 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 71003 | 13983 | 14018 | 49396 | 69.5689 | 195 | 1.3911 | 378 | 2.6965 | 378 | 2.6965 | 1217 | 8.6817
33 | 2015-07-26 | 8:03 | 9:54 | Selenobiotin streptavidin | [5 empty] | 12.8 | 100% |  | 15873 | 1380 | 1376 | 3942 | 24.8346 | 10 | 0.72674 | 18 | 1.3081 | 18 | 1.3081 | 134 | 9.7384
Start of shift 3
34 | 2015-07-27 | 11:34 |  | Selenobiotin streptavidin | Dark | yellow | 4 | 4 | 5000 | 12.8 | 100% | ~135 | 31873 | 12279 | 12273 | 30481 | 95.6327 | 1993 | 9.226 | 3081 | 25.1039 | 3081 | 25.1039 | 5774 | 47.0464 | Good
35 | 2015-07-27 | 11:40 | 5:55 | Selenobiotin streptavidin | First hit | yellow | 3 | 10 | 3100 | 12.8 | 100% |  | 38344 | 21615 | 21602 | 37950 | 98.9725 | 3679 | 17.0308 | 5733 | 26.5392 | 5733 | 26.5392 | 9734 | 45.0606
36 | 2015-07-27 | 11:40 |  | Dark | Dark | yellow | 3 | 10 | 3200 | 12.8 | 100% |  |  | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
37 | 2015-07-27 | 23:44 | 3:27 | Selenobiotin streptavidin | Some hits to the corner,Good hits, playing around w/ outer flow to see if jetting still occurs | yellow | 1 | 10 | 3200 | 12.8 | 100% |  | 24728 | 12333 | 14019 | 14045 | 56.798 | 1990 | 18.0107 | 3200 | 22.8262 | 3200 | 22.8262 | 5876 | 41.9145
38 | 2015-07-27 | 23:47 | 2:57 | Selenobiotin streptavidin |  | yellow | 2 | 10 | 3200 | 12.8 | 100% |  | 21149 | 9283 | 11049 | 11067 | 52.3287 | 1577 | 9.9949 | 2352 | 21.287 | 2352 | 21.287 | 4425 | 40.0489
39 | 2015-07-27 | 23:49 | 3:42 | Selenobiotin streptavidin | Very good run, | yellow | 2 | 10 | 3200 | 12.8 | 100% |  | 26569 | 5465 | 15778 | 15782 | 59.4001 | 1743 | 10.6521 | 3164 | 20.0532 | 3164 | 20.0532 | 6051 | 38.3509
40 | 2015-07-27 | 23:52 | 4:08 | Selenobiotin streptavidin |  | yellow | 2 | 10 | 3200 | 12.8 | 100% |  | 29553 | 5347 | 16363 | 16367 | 55.3819 | 1502 | 3.4698 | 2901 | 17.729 | 2901 | 17.729 | 4268 | 26.0832
41 | 2015-07-27 | 0:01 | 9:47 | Selenobiotin streptavidin |  | yellow | 2 | 10 | 3200 | 12.8 | 100% |  | 61891 | 2317 | 43288 | 37874 | 61.1947 | 4597 | 9.3397 | 8319 | 19.2178 | 8319 | 19.2178 | 14485 | 33.4619 | Good
42 | 2015-07-27 | 12:11 | 10:24 | Selenobiotin streptavidin | Brought down to 1 uL/min (Sheath), | yellow | 0 | 9 | 3250 | 12.8 | 100% |  | 74641 | 17316 | 49220 | 49220 | 65.9423 | 4095 | 13.0112 | 4095 | 8.3198 | 4095 | 8.3198 | 10362 | 21.0524
43 | 2015-07-27 | 0:22 | 14:17 | Selenobiotin streptavidin | Sheath changed to 1 (12:23), sample changed to 8 (12:31), sample changed to 7 (12:32), 3350 V (12:35) | yellow | 0 | 9 | 3250 | 12.8 | 10% |  | 102375 | 5483 | 31473 | 31675 | 30.9402 | 1573 | 86.8581 | 2034 | 6.4627 | 2034 | 6.4627 | 5342 | 16.9733
44 | 2015-07-27 | 12:52 | 7:59 | Selenobiotin streptavidin |  | yellow | 0 | 10 | 4000 | 12.8 | 10% |  | 57312 | 1033 | 1811 | 8519 | 14.8643 | 173 | 14.5868 | 186 | 10.2706 | 186 | 10.2706 | 1245 | 68.7465
45 | 2015-07-27 | 1:03 | 1:34 | Selenobiotin streptavidin | "Looking Good" - Hasan | yellow | 0 | 7 | 3100 | 12.8 | 10% |  | 11128 | 155 | 1186 | 1190 | 10.6937 | 31 | 0.5291 | 41 | 3.457 | 41 | 3.457 | 230 | 19.3929
46 | 2015-07-27 | 1:20 | 6:27 | Selenobiotin streptavidin | SC3 cleaned (1:18). sample FR 6, sheath FR 1 (1:25). Whole run wasnt at 12.8 keV. | yellow | 2 | 8 | 3000 | <12.80 | 10% |  | 46200 | 556 | 5859 | 5892 | 12.7532 | 617 | 7.4517 | 728 | 12.4253 | 728 | 12.4253 | 1459 | 24.9019
47 | 2015-07-27 | 1:36 | 9:12 | Selenobiotin streptavidin | SC3 cleaned (1:35). | yellow | 1 | 8 | 3000 | 12.8 | 10% |  | 66030 | 1289 | 8280 | 8350 | 12.6458 | 530 | 289.6175 | 630 | 7.6087 | 630 | 7.6087 | 1408 | 17.0048
48 | 2015-07-27 | 1:46 | 1:23 | Selenobiotin streptavidin |  | yellow | 1 | 6 | 2800 | 12.8 | 10% |  | 9933 | 27 | 183 | 183 | 1.8423 | 4 | 0.056609 | 10 | 5.4645 | 10 | 5.4645 | 13 | 7.1038
49 | 2015-07-27 | 1:49 | 10:23 | Selenobiotin streptavidin | Brought sample down to 5 uL (1:53), | yellow | 1 | 6 | 2600 | 12.8 | 10% |  | 74500 | 4198 | 7066 | 22934 | 30.7839 | 498 | 3.3692 | 561 | 7.9394 | 561 | 7.9394 | 4469 | 63.2465
50 | 2015-07-27 | 2:00 | 4:38 | Selenobiotin streptavidin |  | yellow | 1 | 5 | 2700 | 12.8 | 10% |  | 28994 | 3512 | 14781 | 12907 | 44.5161 | 1157 | 64.5287 | 1465 | 9.9114 | 1465 | 9.9114 | 2864 | 19.3762
51 | 2015-07-27 | 2:04 | 0:59 | Selenobiotin streptavidin |  | yellow | 0.5 | 5 | 2500 | 12.8 | 10% |  | 7062 | 509 | 1793 | 1803 | 25.531 | 146 | 0.96293 | 176 | 9.816 | 176 | 9.816 | 421 | 23.4802
52 | 2015-07-27 | 2:10 | 6:05 | Selenobiotin streptavidin |  | yellow | 0.1 | 4 | 2400 | 12.8 | 10% |  | 43541 | 2055 | 15162 | 15242 | 35.0061 | 847 | 5.5863 | 1082 | 7.1363 | 1082 | 7.1363 | 2767 | 18.2496
53 | 2015-07-27 | 2:19 | 2:45 | Selenobiotin streptavidin |  | yellow | 0.1 | 5 | 2600 | 12.8 | 10% |  | 19720 | 862 | 4471 | 4495 | 22.7941 | 352 | 7.873 | 449 | 10.0425 | 449 | 10.0425 | 925 | 20.6889
54 | 2015-07-27 | 2:23 |  | Dark | dark, cleaning end of capillary | yellow | 10 | 0 | 5000 | 12.8 | 10% |  |  | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
55 | 2015-07-27 | 2:34 | 6:36 | Selenobiotin streptavidin |  | yellow | 10 | 1 | 2300 | 12.8 | 10% |  | 47140 | 1335 | 8365 | 8408 | 17.8362 | 573 | 6.85 | 781 | 9.3365 | 781 | 9.3365 | 1904 | 22.7615
56 | 2015-07-27 | 2:41 | 2:35 | Selenobiotin streptavidin |  | yellow | 1 | 5 | 2600 | 12.8 | 10% |  | 14877 | 25 | 259 | 219 | 1.4721 | 8 | 3.0888 | 13 | 5.0193 | 13 | 5.0193 | 25 | 9.6525
57 | 2015-07-27 | 2:48 | 6:23 | Selenobiotin streptavidin | changed to 0 uL Sheath, 5 uL sample. | yellow | 1 | 6 | 2800 | 12.8 | 10% |  | 41719 | 409 | 4257 | 3989 | 9.5616 | 337 | 7.9164 | 383 | 8.9969 | 383 | 8.9969 | 749 | 17.5946
58 | 2015-07-27 | 3:36 | 4:19 | Selenobiotin streptavidin | 4/5 dilution compared to original sample , also cleaned nozzle | yellow | 0.1 | 7 | 3600 | 12.8 | 10% |  | 28880 | 229 | 891 | 852 | 2.9501 | 105 | 11.7845 | 119 | 13.3558 | 119 | 13.3558 | 242 | 27.1605
59 | 2015-07-27 | 3:40 |  | Dark | Dark run with 7.5 bad pixel rms threshold. Sample was leaking and was fixed after the run | yellow | 0.1 | 7 | 3600 | 12.8 | 10% |  |  | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
60 | 2015-07-27 | 4:03 | 4:38 | Selenobiotin streptavidin |  | yellow | 1 | 6 | 3000 | 12.8 | 10% |  | 30630 | 919 | 6784 | 5540 | 18.0868 | 158 | 2.329 | 584 | 8.6085 | 584 | 8.6085 | 720 | 10.6132
61 | 2015-07-27 | 4:08 | 9:30 | Selenobiotin streptavidin | Sample FR 5, 4k V | yellow | 1 | 6 | 3100 | 12.8 | 10% |  | 68044 | 1276 | 8823 | 7590 | 11.1545 | 942 | 10.6766 | 1144 | 12.9661 | 1144 | 12.9661 | 1520 | 17.2277
62 | 2015-07-27 | 4:18 | 4:52 | Selenobiotin streptavidin | Really bad jet, nozzle has dried solution | yellow | 1 | 5 | 4000 | 12.8 | 10% |  | 31970 | 974 | 6559 | 4832 | 15.1142 | 476 | 7.2572 | 599 | 9.1325 | 599 | 9.1325 | 801 | 12.2122
63 | 2015-07-27 | 4:34 | 6:00 | Selenobiotin streptavidin |  | yellow | 3 | 5 | 2900 | 12.8 | 50% |  | 38924 | 371 | 4068 | 3794 | 9.7472 | 456 | 11.2094 | 629 | 15.4621 | 629 | 15.4621 | 942 | 23.1563
64 | 2015-07-27 | 4:48 | 10:07 | Selenobiotin streptavidin |  | yellow | 2 | 4 | 3000 | 12.8 | 50% |  | 72508 | 6235 | 20637 | 20719 | 28.5748 | 3846 | 18.6364 | 5791 | 28.0612 | 5791 | 28.0612 | 8765 | 42.4723 | Good
65 | 2015-07-27 | 4:58 | 4:39 | Selenobiotin streptavidin |  | yellow | 2 | 4 | 2900 | 12.8 | 50% |  | 30740 | 3057 | 9663 | 9042 | 29.4144 | 1923 | 19.9007 | 2961 | 30.6427 | 2961 | 30.6427 | 4303 | 44.5307
66 | 2015-07-27 | 5:03 | 8:07 | Selenobiotin streptavidin |  | yellow | 2 | 4 | 2900 | 12.8 | 50% |  | 58206 | 6381 | 11538 | 18592 | 31.9417 | 2338 | 20.2635 | 3759 | 32.5793 | 3759 | 32.5793 | 9119 | 79.0345
67 | 2015-07-27 | 6:14 | 6:52 | Selenobiotin streptavidin | Cleaned nozzle before run | yellow | 2 | 5 | 2900 | 12.8 | 50% |  | 49130 | 2138 | 13512 | 13543 | 27.5656 | 2325 | 17.2069 | 3788 | 28.0343 | 3788 | 28.0343 | 5862 | 43.3837
68 | 2015-07-27 | 5:25 | 10:22 | Selenobiotin streptavidin |  | yellow | 2 | 5 | 3500 | 12.8 | 50% |  | 74262 | 7453 | 21911 | 21989 | 29.61 | 3484 | 15.9007 | 5750 | 26.2425 | 5750 | 26.2425 | 8791 | 40.1214
69 | 2015-07-27 | 5:35 | 2:43 | Selenobiotin streptavidin |  | yellow | 1 | 6 | 3000 | 12.8 | 50% |  | 19484 | 2561 | 5962 | 5980 | 30.6918 | 1025 | 17.1922 | 1720 | 28.8494 | 1720 | 28.8494 | 2574 | 43.1734
70 | 2015-07-27 | 5:52 | 10:47 | Selenobiotin streptavidin |  | yellow | 2 | 6 | 2500 | 12.8 | 50% |  | 74208 | 4357 | 19642 | 18714 | 25.2183 |  | 0 | 5997 | 30.5315 | 5997 | 30.5315 | 8494 | 43.2441
71 | 2015-07-27 | 6:03 | 10:13 | Selenobiotin streptavidin |  | yellow | 2 | 7 | 2400 | 12.8 | 50% |  | 73265 | 3290 | 31670 | 31729 | 43.3072 |  | 0 | 9531 | 30.0947 | 9531 | 30.0947 | 14769 | 46.634 | Good
72 | 2015-07-27 | 6:13 | 6:32 | Selenobiotin streptavidin |  | yellow | 2 | 6 | 2650 | 12.8 | 50% |  | 46861 | 6551 | 20219 | 20276 | 43.2684 | 3539 | 17.5033 | 5737 | 28.3743 | 5737 | 28.3743 | 9075 | 44.8835
73 | 2015-07-27 | 6:20 | 12:06 | Selenobiotin streptavidin |  | yellow | 1 | 6 | 2650 | 12.8 | 50% |  | 86751 | 7418 | 51646 | 51784 | 59.6927 | 8328 | 16.1252 | 14822 | 28.6992 | 14822 | 28.6992 | 23718 | 45.9242
74 | 2015-07-27 | 6:32 | 9:51 | Selenobiotin streptavidin | sample FR 5, outer FR .1 (6:35) | yellow | 1 | 6 | 3000 | 12.8 | 50% |  | 68706 | 4271 | 34939 | 34398 | 50.0655 | 5938 | 16.9953 | 10600 | 30.3386 | 10600 | 30.3386 | 16035 | 45.8943
75 | 2015-07-27 | 6:43 |  | Dark | Dark run with 7.5 bad pixel rms threshold. | yellow |  |  |  | 12.8 | 50% |  |  | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
76 | 2015-07-27 | 7:40 | 2:44 | Selenobiotin streptavidin |  | yellow | 0.1 | 8 | 3900 | 12.8 | 50% |  | 19608 |  | 1373 | 1891 | 9.644 | 301 | 21.9228 | 511 | 37.2178 | 511 | 37.2178 | 746 | 54.3336
77 | 2015-07-27 | 7:45 | 10:52 | Selenobiotin streptavidin | (7:55) - Jet looks like blob, attempting to use vltage wash | yellow | 0.1 | 8 | 4000 | 12.8 | 50% |  | 77919 |  | 11276 | 14803 | 18.9979 | 1918 | 17.0096 | 3592 | 31.8553 | 3592 | 31.8553 | 6077 | 53.8932
78 | 2015-07-27 | 7:58 | 7:26 | Selenobiotin streptavidin |  | yellow | 1 | 10 | 5000 | 12.8 | 50% |  | 53295 |  | 12190 | 25362 | 47.588 | 2096 | 17.1944 | 3795 | 31.1321 | 3795 | 31.1321 | 10143 | 83.2075 | excellent
79 | 2015-07-27 | 8:07 | 10:53 | Selenobiotin streptavidin | Sample changed to 5 uL, | yellow | 3 | 4 | 5000 | 12.8 | 50% |  | 78006 |  | 47636 | 45236 | 57.9904 | 7937 | 16.6618 | 13570 | 28.4869 | 13570 | 28.4869 | 20466 | 42.9633
80 | 2015-07-27 | 8:18 | 11:09 | Selenobiotin streptavidin | psi = 7, abnormally very low but still getting hits | yellow | 0.1 | 3 | 5000 | 12.8 | 50% |  | 79636 |  | 11857 | 23336 | 29.3033 | 1479 | 12.4736 | 2359 | 19.8954 | 2359 | 19.8954 | 4837 | 40.7945
81 | 2015-07-27 | 8:29 | 0:44 | Selenobiotin streptavidin | jet remained unresponsive since run 80 - no current being applied - few if any hits should be expected from here to end of shift - random jetting at best | yellow | 0.1 | 7 | 2000 | 12.8 | 50% |  | 5241 |  | 18 | 46 | 0.8777 | 0 | 0 | 3 | 16.6667 | 3 | 16.6667 | 5 | 27.7778
82 | 2015-07-27 | 8:33 | 4:03 | Selenobiotin streptavidin |  | yellow | 0.1 | 7 | 2000 | 12.8 | 50% |  | 28959 |  | 272 | 498 | 1.7197 | 14 | 5.1471 | 20 | 7.3529 | 20 | 7.3529 | 36 | 13.2353 | good
83 | 2015-07-27 | 8:38 | 10:49 | Selenobiotin streptavidin |  | yellow | 0.1 | 7 | 2000 | 12.8 | 50% |  | 73610 |  | 16587 | 16061 | 21.819 | 1385 | 8.3499 | 2636 | 15.892 | 2636 | 15.892 | 4108 | 24.7664 | some misindexed
84
85 | [12 empty] | Collection time: | Total frames: | Total hits: |  | Total indexed:
86 | [12 empty] | 7:37 | 3013844 | 892104 |  | 274258
87 | [14 empty] | 29.6002 |  | 30.7428
88 | [12 empty] | Number of frames | Hits found so far | Number indexed so far |  | Avg. indexing rate
89 | [11 empty] | Transmission 100% | 1174470 | 369691 | 88289 |  | 23.8818
90 | [11 empty] | Transmission 50% | 1109319 | 377793 | 158865 |  | 42.0508
91 | [11 empty] | Transmission 10% | 730055 | 144620 | 27104 |  | 18.7415
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224